## Slide 1: St. James Parish Utilities Infrastructure/Assets

## Slide 3: Water Assets
Water District #1 & 2

## Slide 4: Convent Water Plant
Constructed in 1954

## Slide 5: Convent Water Plant River Pumps
Installed in 2018

## Slide 6: Convent Water Plant Clarifier
Constructed in 2003 For $650,000

## Slide 7: Convent Water Plant Filters
Constructed in 2012

## Slide 8: Convent Water Plant Lab

## Slide 9: Convent Water Plant Pump Gallery

## Slide 10: Convent Water Plant Chlorine Building Constructed 2016

## Slide 11: Vacherie Water Plant
Constructed in 1954

## Slide 12: River Intake Pumps
Constructed 1983

## Slide 13: Vacherie Water Plant Clarifier & FIlters
Constructed in 1954 &1983

## Slide 14: Vacherie Water Plant Lab

## Slide 15: Vacheire Pipe Gallery

## Slide 16: Vacherie Water Plant Chlorine Room
Constructed in 2015

## Slide 17: Vacherie Water Plant Generator
400 KW installed in 2010

## Slide 18: ST. James Utilities Water District 1 & 2 Water Towers
St. James #1 has 2 Towers
St. James #2 has 4 Towers

## Slide 19: Paulina Tower 50,000 Gallons
Tank Renovation completed in 2024 for $128,000
Will cost $110,000 over next 10 years to maintain Tower

## Slide 20: Union Tower 75,000 Gallons
Currently Under Maintenance Contract with UGS (utility service group)
Will cost $116,000 over next 10 years to maintain

## Slide 21: Welcome Tower 50,000 Gallons
Currently under maintenance contract with UGS (utility service group).
Will cost $114,000 over next 10 years to maintain.

## Slide 22: North Vacherie Water Tower 75,000 Gallons
Currently under maintenance contract with Utility Service Group (UGS)
Will cost $206,000 to maintain over next 10 years (this price does include a full renovation on year 3).

## Slide 23: Tri-Corner Tower 50,000 Gallons
Currently under Maintenance contract with Utility Service Group
Will cost $260,000 to maintain over next 10 years with full renovation in year 4.

## Slide 24: South Vacherie Tower 250,000 Gallons
Currently under maintenance contract with Utility Service Group
Will cost $269,000 to maintain over next 10 years with total renovation in year 2

## Slide 25: Convent Ground Storage Tanks 250,000 and 500,000 Gallons
Currently under maintenance Contract with Utility Service Group
Contract is $22,000 per year for both Tanks
Total Renovation of both tanks were done in 2010

## Slide 26: Vacherie Ground Storage Tanks 250,000 & 500,000 Gallons
Currently Under maintenance contract with Utility Service Group (UGS)
Contract is $22,000 per year for both tanks
Total renovation of both tanks were done in 2009
Planning on building additional 500,000-gallon ground storage tank

## Slide 27: Water District 1 & 2 Booster Stations

## Slide 28: Water Line Under Mississippi River
Constructed in 2015 for $3.5 Million Dollars
1 Mile of 24” pipe
Allows both plants to be connected and aid each other in times of need

## Slide 29: Water Lines
Over 200 Miles of Water Lines
Large water line installation projects were done in 1952 and 1976
Types of water lines in the system are A/C (asbestos concrete) and C900 PVC

## Slide 30: Uilities Office & Warehouse
Constructed in 1952

## Slide 31: Water Meters
Roughly 7,000 water meters
Very antiquated with many moving parts (less accurate)

## Slide 32: St. James Parish Natural Gas Distribution

## Slide 33: Remy Gas Station
Supplies natural gas to customers along Highway 44 from Parish line to Hwy 642
Mercaptan is added
This station is supplied by Boardwalk

## Slide 34: Grand Point Gas Station
Provides gas to residents along Hwy 3125 and Hwy 642 from Railroad Tracks to the end of Grand Point
This station was upgraded in 2022
This station is supplied by Boardwalk
Mercaptan is added
The 2 systems were looped in 2023

## Slide 35: Vacherie Gas Station
This station supplies all customers along Hwy 18
This station is supplied by Boardwalk
Mercaptan is added

## Slide 36: South Vacherie Gas Station
This station supplies gas to customers along Hwy 20 from River to South Vacherie
This station was constructed in 2023
Mercaptan is added
This station is supplied by Acadian Pipeline

## Slide 37: Rectifiers
Cathodic protection uses a rectifier to convert Alternating Current (AC) power to Direct Current (DC). AC power is generally used in households and carried through power lines throughout North America. DC power is generally found in batteries like those found in your car or used in a flashlight. On one side, the rectifier output is electrically connected to the pipe, and on the other side, it is connected to anodes (metal rods). The rectifier is usually sited adjacent to existing power lines in the area. Anodes are buried in groups (referred to as ground beds) along the pipeline and are backfilled with a carbon-based conductive material to improve their effectiveness. As long as the electric current flows from the pipeline through the rectifier to the anode bed exposed pipe metal is protected from corrosion.
There are 17 rectifiers on the West Bank
There are 9 rectifiers on the East Bank
1 - 2 rectifiers are rebuilt every year at a cost of $15,000 each

## Slide 38: Pipeline
Over 200 Miles of Natural Gas Pipeline (Steel and Polyethene)
Pipeline has rigorous safety inspections yearly
All operators must be qualified to work on pipeline.
Yearly cost to keep our operators certified is $20,000
Upgraded pipeline along Hwy 642 on the East Bank replacing PVC with PE, this was a major improvement allowing pressures to be raised from 21psi to 60psi.

## Slide 39: St. James Parish Sewer Divsion

## Slide 40: Bellvue Lakes
2 Lift Stations
Sewer gets pumped to Lutcher Sewer Pond

## Slide 41: Park View Subdividion
Sewer Plant was added in 2024

## Slide 42: Sugar View Subdivision
Sugarview currently has 1 lift station that gets pumped to the Molaison Sewer Plant

## Slide 43: Molaison Community Sewer
2 Lift Stations
Sewer is transferred to the 24,000 gallon per day treatment plant

## Slide 44: Sugar Hill Crossing
1 Lift Station
Sewer gets pumped to Donaldsonville Sewer Plant

## Slide 45: All Parish Buildings and Facilities Quarterly Discharge Monitoring Repots must be submitted to Louisiana DEQ
Adult Detention Center
Courthouse
4th District Senior Center
5th District Senior Center
7th District Senior Center (future)
3rd District Park
4th District Park
5th District Park
6th District Park
7th District Park
West Bank Maintenance Shop
Courthouse Annex
Vacherie Library
Utilities Office
Vacherie Water Plant
Convent Water Plant

## Slide 46: Utilities Fleet
23 - Utility Trucks
3 - Mini Excavators
2 - Forklifts
3 - Utility Trailers
1 - 6” Deisel Trash Pump
1 - 60KW Trailer Mounted Generator
2 - Boring Air Compressors

## Slide 47: Personell
Our Greatest Asset!!